G   U   I   D   E   -   S   P   E   C

# FleeceBACK Adhered Roofing System using Bead Applied Flexible FAST Adhesive

July 2026

This GUIDE-SPEC is a brief outline of Carlisle's FleeceBACK Adhered Roofing System with Bead Applied Flexible FAST Adhesive and is intended for use as a submittal with a bid package. Specifiers and the Carlisle Authorized Roofing Applicator must comply with the applicable Sections of Carlisle's Technical Manual, prior to design or bid.

PART I    	GENERAL

# 1.01		DESCRIPTION

This FleeceBACK Adhered Roofing System incorporates Sure-Seal (black) or Sure-White non-reinforced EPDM, Sure-Weld (white, gray, tan or Special Color TPO) reinforced TPO, Sure-Flex PVC (white, gray, light gray, slate gray or tan) FleeceBACK or Sure-Flex PVC KEE HP (white, gray, light gray, slate gray or tan) FleeceBACK membrane laminated to non-woven polyester fleece-backing.  The membrane is fully adhered to an acceptable insulation or substrate with Flexible FAST Adhesive applied in beads.

Adjoining sheets of EPDM FleeceBACK membrane are spliced together using 3" or 6” wide factory-applied SecurTAPE in conjunction with Primer.  Sheets of Sure-Weld and Sure-Flex FleeceBACK membrane are joined together with a minimum 1-1/2” wide hot air weld.

# 1.02		QUALITY ASSURANCE

A.	This roofing system must be installed by a Carlisle Authorized Roofing Applicator in compliance with drawings and specifications as approved by Carlisle SynTec.

B.	Upon request, an inspection shall be conducted by a Field Service Representative of Carlisle to ascertain that the membrane roofing system has been installed according to Carlisle’s published specifications and details applicable at the time of bid. This inspection is to determine whether a warranty shall be issued. It is not intended as a final inspection for the benefit of the owner.

C.	For specific code approvals achieved with this system, refer to Carlisle's FleeceBACK Code Approval Guide, DORA (Directory of Roof Assemblies), FM Approvals or UL Fire Resistance Directory for Roofing Materials and Systems.

# 1.03		SUBMITTALS

A.	To ensure compliance with Carlisle's minimum warranty requirements, the following projects should be forwarded to Carlisle for review prior to installation, preferably prior to bid.

- Air pressurized buildings, canopies, and buildings with large openings, cold storage buildings or freezer facilities, adhered roofing system projects over 100’ in height or projects where the membrane is expected to come in direct contact with petroleum-based products, waste products (i.e., grease, oil, animal fats, etc.) and other chemicals.

B.   Shop drawings must be submitted to Carlisle by the Carlisle Authorized Roofing Applicator along with a completely executed Notice of Award (Page 1 of Carlisle's Request For Warranty form) for approval.  Approved shop drawings are required for inspection of the roof and on projects where on-site technical assistance is requested.

# 1.04         GENERAL DESIGN CONSIDERATIONS

- It is the responsibility of the building owner or his/her designated representative to verify structural load limitation. In addition, a core cut may be taken to verify weight of existing components when the roofing system is to be specified on an existing facility.

- On new construction projects, especially in cold climate regions, moisture generated due to the construction process could adversely impact various components within the roofing assembly if not addressed.  [Refer to Design References DR-01 “Construction Generated Moisture” included in the Carlisle Technical Manual.]

- On structural concrete decks, when a vapor retarder is not used, gaps in the deck along the perimeter and around penetrations must be sealed along with vertical joints between tilt-up panels, if present, to prevent infiltration of hot humid air and possible moisture contamination resulting from condensation.  This is specifically important when adhesive is used to attach the roof insulation.

CAUTION: If left unaddressed, collected moisture could weaken insulation boards and facers resulting in a blow-off or increase the probability of mold growth.

- Vapor Retarders

- Carlisle does not require a vapor retarder for the protection of the membrane; however, it should be considered by the specifier for the protection of the roofing assembly (i.e. primarily insulation, underlayment and adhesives). The following criteria should be considered by the specifier:

- Use of a vapor retarder to protect insulation and reduce moisture accumulation within an insulated roofing assembly, should be investigated by the specifier.

- In the generally temperate climate of the United States, during the winter months, water vapor flows upward from a heated, more humid interior toward a colder, drier exterior.  Vapor retarders are more commonly required in northern climates than in southern regions, where downward vapor pressure may be expected and the roofing membrane itself becomes the vapor retarder.

# 1.05		WARRANTY

| Table I | FleeceBACK Adhered Systems Warranty Options |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Years | Minimum Membrane Thickness | Warranty Wind Speed |  |  | Additional Hail Coverage |  |  |  |  |
|  |  | 55, 72 or 80 mph | 90 or 100 mph | 110 or 120 mph | 1" Dia. Hail | 2" Dia. Hail | 3" Dia. Hail |  | 4" Dia. Hail |
| 5,10, or 15 year | FleeceBACK EPDM 100-mil or FleeceBACK TPO 100-mil | √ | √ | √ | √ | √ (1) | N/A |  | N/A |
|  | FleeceBACK PVC 115-mil (3) | √ | √ | √ | √ | √ (1) | N/A |  | N/A |
|  | FleeceBACK KEE HP 105-mil | √ | √ | √ | √ | √ (1) | N/A |  | N/A |
| 20 year | FleeceBACK EPDM 115-mil or FleeceBACK TPO 115-mil | √ | √ | √ | √ | √ | √ (1) |  | N/A |
|  | FleeceBACK PVC 115-mil (3) | √ | √ | √ | √ | √ (1) | N/A |  | N/A |
|  | FleeceBACK KEE HP 105-mil | √ | √ | √ | √ | √ (1) | N/A |  | N/A |
| 25 year | FleeceBACK EPDM 145-mil | √ | √ | √ | √ | √ | √ |  | √ (2) |
|  | FleeceBACK PVC 135-mil (3) | √ | √ | √ | √ | √ | √ (1) |  | N/A |
|  | FleeceBACK TPO 135-mil or FleeceBACK KEE HP 115-mil | √ | √ | √ | √ | √ | √ (1) |  | N/A |
| 30 year | FleeceBACK EPDM 145-mil | √ | √ | √ | √ | √ | √ |  | √ (2) |
|  | FleeceBACK TPO 135-mil or FleeceBACK KEE HP 135-mil | √ | √ | √ | √ | √ | √ (1) |  | N/A |
| Notes: | N/A = Not Acceptable | √= Acceptable |  |  |  |  |  |  |  |
| - Requires Flexible FAST in full coverage or beads spaced at 4” o.c. - Require Flexible FAST in full coverage or beads spaced at 4” o.c. Contact Carlisle for underlayment requirements. - FleeceBACK PVC with Polyester or Fiberglass Reinforced Scrim (FRS) |  |  |  |  |  |  |  |  |  |

# 1.06		PRODUCT DELIVERY, STORAGE AND HANDLING

A.	Deliver materials to the job site in the original, unopened containers labeled with the manufacturer's name, brand name and installation instructions.

B.	Job site storage temperatures in excess of 90F may affect shelf life of curable materials (i.e., Flexible FAST Adhesive – Parts A & B, splicing cement, sealants, cleaners, primers, SecurTAPE, Pourable Sealer, Pressure-Sensitive Flashing and uncured flashing).

C.	When liquid adhesives and sealants are exposed to lower temperatures, restore to a minimum of 60F before use.  Do not store containers with opened lids due to loss of solvent which will occur from flash off.

D.	FleeceBACK Membrane should be stored in its original plastic wrap and be covered to protect from moisture. Any moisture absorbed by the fleece-backing must be removed by using a wet-vac system, prior to membrane adhesion.

# 1.07		JOB CONDITIONS

- Refer to Carlisle Technical Manual for applicable project specific Job Conditions.

PART II		PRODUCTS

# 2.01		GENERAL

The components of this roofing system are to be products of Carlisle or accepted by Carlisle as compatible.  The installation, performance or integrity of products by others, when selected by the specifier and accepted as compatible by Carlisle, is not the responsibility of Carlisle and is expressly disclaimed by the Carlisle Warranty.

# 2.02		MEMBRANE

FleeceBACK 100, 115, 135 and 145 Membrane incorporates 45-, 60-, or 90-mil thick, Sure-Seal (black) or Sure-White (white) non-reinforced EPDM or 45-, 60- or 90-mil Sure-Weld (white, gray, tan or Special Color TPO) reinforced TPO membrane laminated to a 55-mil thick non-woven polyester fleece-backing resulting in a total finished sheet thickness of 100, 115, 135 or 145 mils.  Sure-Flex KEE HP (white, gray, light gray, slate gray or tan) FleeceBACK is available in 105, 115 and 135 mils. Sure-Flex PVC (white, gray, light gray, slate gray, or tan) FleeceBACK is available in 115 and 135 mils.

For available membrane widths and lengths refer to applicable FleeceBACK Specification or Product Data Sheets.

2.03		RELATED MATERIALS

A.	Flexible FAST Adhesive, Cleaners, Splicing Cement, Sealants, Primers, SecurTAPE, Flashing, Pressure-Sensitive Flashing, Elastoform Flashing, Termination Bars, Carlisle Insulation, Insulation Fasteners and Water Cut-Off Mastic are required for use with this roofing system.  Other Carlisle products, such as insulation and edgings are also required when a System Warranty is specified.

Other Products: Walkway Pads, Pre-Molded Pipe Flashings, LIQUISEAL Liquid Flashing, Corners and Pourable/Molded Sealer Pockets.

PART III	EXECUTION

3.01		GENERAL

- When feasible, begin the application at the highest point of the highest roof level and work to the lowest point to prevent moisture infiltration and minimize construction traffic on completed sections.  This will include completion of all flashings and terminations.

# 3.02		ROOF DECK CRITERIA

A.	A proper substrate shall be provided by the building owner.  The structure shall be sufficient to withstand normal construction loads and live loads.

B.	Defects in the roof deck must be reported and documented to the specifier, general contractor and building owner for assessment.  The Carlisle Authorized Roofing Applicator shall not proceed unless the defects are corrected.

C.	When mechanically attaching the insulation with Carlisle Fasteners and Insulation Plates, refer to FleeceBACK Specification for acceptable decks and the applicable Carlisle Fasteners.

# 3.03		SUBSTRATE REQUIREMENTS

A.	The membrane may be adhered with Flexible FAST Adhesive directly over structural concrete, wood decks (new or tear-off).  An existing smooth surfaced asphalt built-up roof (Type III or IV Asphalt), modified bitumen, or mineral surfaced cap sheet are also acceptable substrates.  Direct application over certain types of cellular or perlite lightweight insulating concrete substrate may also be specified (contact Carlisle for acceptable lightweight insulating concretes).

B.	Acceptable Carlisle insulations include all types currently approved with Design "A" Adhered Roofing Systems.

C.	The substrate must be dry, relatively smooth, free of protrusions, debris, sharp edges or foreign materials and must be free of accumulated water, ice and snow. Cracks or voids in the substrate greater than 1/4" (6 mm) must be filled with a suitable material.

D.	On retrofit-recover projects, cut and remove wet insulation as identified by the specifier and fill all voids with new insulation, so that it is relatively flush, prior to installing an approved insulation.

- At angle changes along walls, curbs, skylights, etc., for warranties up to 20 years, FleeceBACK membrane must be adhered in Flexible FAST Adhesive beads placed directly at the angle change and an additional bead spaced a maximum of 3” away from the first bead (at the angle change). For warranties over 20 years, mechanical securement of the membrane is required.

# 3.04		INSTALLATION

Refer to the applicable Safety Data Sheets and Product Data Sheets for cautions and warnings. For bead application equipment requirements, reference the Spec Supplement, Flexible FAST Adhesive Equipment G-02-22 or FleeceBACK and Insulation Attachment with Flexible FAST Adhesive G-03-22.

A.	Insulation Attachment

- Carlisle Flexible FAST Adhesive may be specified for insulation securement in full spray or beads with spacing as outlined in the Carlisle Technical Manual.

- Carlisle Fasteners may be used, when specified, to secure Carlisle Insulation at the specified density outlined in the Carlisle Technical Manual

B.	Membrane Adhesion

- FleeceBACK Membrane shall be adhered to an acceptable substrate with a two component, bead applied, low-rise adhesive supplied by Carlisle.  Flexible FAST Adhesive is applied to the substrate only and the membrane is rolled into the wet adhesive once it has foamed up approximately 1/8" to 3/4” and begins to “string” when touched with an HP Splice Wipe.   Roll the membrane with a 30” wide, 150 pound, segmented steel roller to set the membrane into the adhesive.

- Adjoining sheets of FleeceBACK Membrane are overlapped a minimum of 3” along length of membrane (at selvage edges) in preparation for splicing.  At end laps (along width of sheet), membrane shall be butted together and overlaid with a minimum 6" wide Pressure-Sensitive Cured Cover Strip for EPDM or reinforced membrane for TPO or PVC.

- Refer to Carlisle Technical Manual for alternate attachment methods.

- Membrane Splicing of FleeceBACK Systems

Refer to appropriate splicing procedures published in the Sure-Seal/Sure-White, Sure-Weld or Sure-Flex FleeceBACK Specifications.

D.	Flashing

  - Flashing of standard penetrations and edge conditions shall conform to the details in Carlisle’s EPDM, TPO or PVC FleeceBACK or Adhered Roofing System specifications as applicable.

  - Details not depicted in these publications shall be submitted to Carlisle for review prior to installation.

# Copyright 2026 Carlisle Construction Materials Incorporated

Carlisle, Sure-Seal, Sure-White, Sure-Weld, Sure-Flex, Elastoform, Flexible FAST, FleeceBACK, LIQUISEAL and SecurTAPE are Trademarks of Carlisle Construction Materials Incorporated

http://www.carlisle-syntec.com

Physical properties of FleeceBACK Membrane can be referenced in Part II, "Products" of the FleeceBACK Specification.

Attach copies of the applicable Carlisle Details that pertain to the individual project to complete a bid package submittal.